ASTM 1670 (Synthetic Blood Penetration Test)

Physical Properties of Breathable Fabrics [PR303BB]

Typical Physical Properties [PR303BB]

| Test Item | Test Method | Test Item | Test Method |
| --- | --- | --- | --- |
| Fabric Weight | ASTM D3776-96 | Water Vapor Transmission Rate | ASTM E96-95 [Method B] |
| Test Strength | ASTM D5733-95 | Water Vapor Transmission Rate | ASTM E96-95 [Desiccant Method] |
| Ball Burst | ASTM D3787-89 | Dry Particle Filtration Efficiency | N/A |
| Breaking Strength | ASTM D5034-95 | Wet Particle Filtration Efficiency | N/A |
| Elongation | ASTM D5034-95 | Chemical Resistance | ASTM F903 |
| Water Resistance Hydrostatic Test | AATC 127-95 | 1. Bleach 5% [Household] 2. Hydraulic Jack Oil 3. Isocyanate Based Paint Hardener 4. Motor Oil 5. Sodium Hydroxide 6. Mineral Oil |  |
| Air Permeability | ASTM D737-96 |  |  |
| Flammability | 16 CFR 1610 |  |  |
| Lint | Helmke Drum Test 0.5 µm 5 µm 10 µm 25 µm |  |  |